## Flostop TS D7P
Customer |  |  |  |  | Flostop TS D7P
Sales Order
Gas System |  |  |  |  | Part No:-
Area to be Installed |  |  | Indoor / Outdoor * Delete as appropriate
Tick One
Atex |  |  | No of channels required |  | Cabinet
Non Atex |  |  | Digital |  | If Cabinet Selected (Fill in whether 1ce,2ce or 3ce type
|  |  | Analogue |  | Wallmount
If Wallmount Systems Selected (Fill in number of panels
Digital Inputs |  |  |  | Pneumatic Output
|  | Name |  |  |  | Name
Din 1------ |  |  |  | Vout 1------
Din 2------
Din 3------ |  |  |  | Cabinet Junction Box Connection (Not applicable for wallmount systems) Volt Free
Din 4------
Din 5------ |  |  |  | Pos 1 | Remote Shutdown
Din 6------ |  |  |  | Pos 2 | Spare Digital Input
Din 7------ |  |  |  | Pos 3 | Valve Status Output (1) - Gas Available
|  |  |  | Pos 4 | Valve Status Output (2)
|  |  |  | Pos 5 | Valve Status Output (3)
Labelling | Tick Box
English
German

## Flostop TS D7E
Customer |  |  |  |  | Flostop TS D7E
Sales Order
Gas System |  |  |  |  | Part No:-
Area to be Installed |  |  | Indoor / Outdoor * Delete as appropriate
Tick One
Atex |  |  | No of channels required |  | Cabinet
Non Atex |  |  | Digital |  | If Cabinet Selected (Fill in whether 1ce,2ce or 3ce type
|  |  | Analogue |  | Wallmount
If Wallmount Systems Selected (Fill in number of panels
Digital Inputs |  |  |  | Electrical Output
|  | Name |  |  |  | Name
Din 1------ |  |  |  | Dout 1------
Din 2------
Din 3------ |  |  |  | Cabinet Junction Box Connection (Not applicable for wallmount systems) Volt Free
Din 4------
Din 5------ |  |  |  | Pos 1 | Remote Shutdown
Din 6------ |  |  |  | Pos 2 | Spare Digital Input
Din 7------ |  |  |  | Pos 3 | Valve Status Output (1) - Gas Available
|  |  |  | Pos 4 | Valve Status Output (2)
|  |  |  | Pos 5 | Valve Status Output (3)
Labelling | Tick Box
English
German

## Flostop TS A8P
Customer |  |  |  | Flostop TS A8P
Sales Order
Gas System |  |  |  | Part No:-
Area to be Installed |  | Indoor / Outdoor * Delete as appropriate
Tick One
Atex |  | No of channels required |  | Cabinet
Non Atex |  | Digital |  | If Cabinet Selected (Fill in whether 1ce,2ce or 3ce type
|  | Analogue |  | Wallmount
If Wallmount Systems Selected (Fill in number of panels
Digital Inputs |  |  | Pneumatic Output
| Name |  |  |  | Name
Din 1------ |  |  | Vout 1------
Din 2------
Din 3------ |  |  | Cabinet Junction Box Connection (Not applicable for wallmount systems) Volt Free
Din 4------
Din 5------ |  |  | Pos 1 | Remote Shutdown
Din 6------ |  |  | Pos 2 | Spare Digital Input
Din 7------ |  |  | Pos 3 | Valve Status Output (1) - Gas Available
|  |  | Pos 4 | Valve Status Output (2)
|  |  | Pos 5 | Valve Status Output (3)
Analogue Inputs
Name
AIN 1
AIN 2
AIN 3 |  |  | Labelling | Tick Box
AIN 4 |  |  | English
AIN 5 |  |  | German
AIN 6
AIN 7
AIN 8

## Flostop TS A8E
Customer |  |  |  | Flostop TS T8E
Sales Order
Gas System |  |  |  | Part No:-
Area to be Installed |  | Indoor / Outdoor * Delete as appropriate
Tick One
Atex |  | No of channels required |  | Cabinet
Non Atex |  | Digital |  | If Cabinet Selected (Fill in whether 1ce,2ce or 3ce type
|  | Analogue |  | Wallmount
If Wallmount Systems Selected (Fill in number of panels
Digital Inputs |  |  | Electrical Output
| Name |  |  |  | Name
Din 1------ |  |  | Dout 1------
Din 2------
Din 3------ |  |  | Cabinet Junction Box Connection (Not applicable for wallmount systems) Volt Free
Din 4------
Din 5------ |  |  | Pos 1 | Remote Shutdown
Din 6------ |  |  | Pos 2 | Spare Digital Input
Din 7------ |  |  | Pos 3 | Valve Status Output (1) - Gas Available
|  |  | Pos 4 | Valve Status Output (2)
|  |  | Pos 5 | Valve Status Output (3)
Analogue Inputs
Name
AIN 1
AIN 2 |  |  | Labelling | Tick Box
AIN 3 |  |  | English
AIN 4 |  |  | German
AIN 5
AIN 6
AIN 7
AIN 8

## Floswitch TS
Customer |  |  |  |  | Floswitch TS
Sales Order
Gas System |  |  |  |  | Part No:- 77053416
Area to be Installed |  |  | Indoor / Outdoor * Delete as appropriate
Tick One
Atex |  |  | No of channels required |  | Cabinet
Non Atex |  |  | Digital |  | If Cabinet Selected (Fill in whether 1ce,2ce or 3ce type
|  |  | Analogue |  | Wallmount
If Wallmount Systems Selected (Fill in number of panels
Digital Inputs |  |  |  | Pneumatic Outputs
|  | Name |  |  |  | Name
Din 1------ |  |  |  | Vout 1------
Din 2------ |  |  |  | Vout 2------
Din 3------ |  |  |  | Vout 3------
Din 4------ |  |  |  | Vout 4------
Din 5------
Din 6------ |  |  |  | Cabinet Junction Box Connection (Not applicable for wallmount systems) Volt Free
Din 7------
Din 8------ |  |  |  | Pos 1 | Remote Shutdown
Din 9------ |  |  |  | Pos 2 | Spare Digital Input
Din 10---- |  |  |  | Pos 3 | Valve Status Output (1) - Gas Available
|  |  |  | Pos 4 | Valve Status Output (2)
|  |  |  | Pos 5 | Valve Status Output (3)
Analogue Inputs
|  | Name |  | Configuration
AIN 1 | [7 empty] | Tick One
AIN 2 |  |  |  | 2 x Auto Changeover
AIN 3
AIN 4 |  |  |  | 1 x Auto Changeover + 2 x Independent Valves
AIN 5
AIN 6 |  |  |  | 4 x Independent Valves
AIN 7
AIN 8
Labelling | Tick Box
English
German

## Flopurge TS
Customer |  |  |  |  | FloPurge TS
Sales Order
Gas System |  |  |  |  | Part No:- 77053421
Area to be Installed |  |  | Indoor / Outdoor * Delete as appropriate
Tick One
Atex |  |  | No of channels required |  | Cabinet
Non Atex |  |  | Digital |  | If Cabinet Selected (Fill in whether 1ce,2ce or 3ce type
|  |  | Analogue |  | Wallmount
If Wallmount Systems Selected (Fill in number of panels
Digital Inputs |  |  |  | Pneumatic Outputs
|  | Name |  |  |  | Name
Din 1------ |  |  |  | Vout 1------
Din 2------ |  |  |  | Vout 2------
Din 3------ |  |  |  | Vout 3------
Din 4------ |  |  |  | Vout 4------
Din 5------
Din 6------ |  |  |  | Cabinet Junction Box Connection (Not applicable for wall mount systems) Volt Free
Din 7------
Din 8------ |  |  |  | Pos 1 | Remote Shutdown
Din 9------ |  |  |  | Pos 2 | Spare Digital Input
Din 10---- |  |  |  | Pos 3 | Valve Status Output (1) - Gas Available
|  |  |  | Pos 4 | Valve Status Output (2)
|  |  |  | Pos 5 | Valve Status Output (3)
Analogue Inputs
|  | Name |  | Configuration
AIN 1 | [7 empty] | Tick One
AIN 2 |  |  |  | Auto Cylinder Valve Shutdown (ACV)
AIN 3
AIN 4 |  |  |  | Pneumatic Process Line Isolation Valve (PLI)
AIN 5
AIN 6 |  |  |  | Pneumatic Vacuum Generator Supply Valve (VGS)
AIN 7
AIN 8
Labelling | Tick Box
English
German