From company: _______________________________________  Order No.: _______________

Contact person for further enquiry: ________________________ Tel.:____________________

Programming FloAlarm D10, FloStop D10P/E control units:

FloAlarm D10			FloStop D10P			FloStop D10E

| Parameter | Restrictions | Example | Customer entry |
| --- | --- | --- | --- |
| Unit identifier | 20 characters | “Build. 2B – Lev. 3” |  |
| Channel identifier | Restrictions | Example | Customer entry |
| Channel 1 | 16 characters | “N2 left low” |  |
| Channel 2 | see above | see above |  |
| Channel 3 | see above | see above |  |
| Channel 4 | see above | see above |  |
| Channel 5 | see above | see above |  |
| Channel 6 | see above | see above |  |
| Channel 7 | see above | see above |  |
| Channel 8 | see above | see above |  |
| Channel 9 | see above | see above |  |
| Channel 10 | see above | see above |  |
| Channel | Sensor logic (NO / NC) | Action (FloStop only) |  |
| 1 | NO  NC  | EMO  |  |
| 2 | NO  NC  | EMO  |  |
| 3 | NO  NC  | EMO  |  |
| 4 | NO  NC  | EMO  |  |
| 5 | NO  NC  | EMO  |  |
| 6 | NO  NC  | EMO  |  |
| 7 | NO  NC  | EMO  |  |
| 8 | NO  NC  | EMO  |  |
| 9 | NO  NC  | EMO  |  |
| 10 | NO  NC  | EMO  |  |

## Other settings:	
The cumulative output (potential-free contact) for FloAlarm D10 units is programmed as a normally open contact as the factory default setting. The contact will remain switched as long as the alarm input signal is present. 
Alternatively the output logic can be programmed as following the buzzer signal (i. e. when the buzzer is silenced the contact will resume the non-alarm position again).
The output logic may also be reprogrammed as a normally closed contact.
The output contact programmed “following the buzzer signal” is available either as a permanently switched output or as an intermittently switching output contact.

| Setting | Options | Description | Customer entry |
| --- | --- | --- | --- |
| Cumulative output logic | Normally open contact | Contact closes in alarm condition | (default)  |
|  | Normally closed contact | Contact opens in alarm condition |  |
| Output signal logic | According to alarm condition | Contact remains switched until alarm condition is rectified | (default)  |
|  | “horn“ (permanent) | Switched until buzzer is silenced |  |
|  | “flashing“ (intermittant) | As above, intermittant signal logic |  |